## components
|  |  | References |  |  |  | Features | [5 empty] | Link |  |  | Location
Category | Sub-Category | Sub-sub-Category | Manufacturer | MPN | Supplier | Supplier Ref | Quantity | Value | Type | Comment | SMD / THT | Footprint | Datasheet | Purchase | KiCad Lib | Room | Furniture | Drawer | Column | Raw
optoelectronic | LED |  | Dialight | 5988G10313F | Farnell | 3584522 | 60 | 20mA | LED RGB | R 2.4V, G 3.4V, B 3,4V | SMD | custom | https://www.mouser.fr/datasheet/2/109/C18481B-2944388.pdf | https://fr.farnell.com/dialight/5988g10313f/led-rgb-680mcd-1-5cd-380mcd-cms/dp/3584522 |  | D265 | Tiro-clas | 2 | 9 | 1
optoelectronic | IR |  | Vishay | TSOP75338TT | Farnell | 1779691 | 50 | 38kHz | IR Receiver Modules | 50° | SMD | custom | https://www.vishay.com/docs/82495/tsop753.pdf | https://fr.farnell.com/vishay/tsop75338tt/recepteur-ir-45m-0-12mw-m2-cms/dp/1779691 |  | D265 | Tiro-clas | 2 | 12 | 1
optoelectronic | LED |  | Wurth | 150060GS55040 |  |  | 100 | 20mA | Green | Vf = 3,2V | SMD | 0603 | https://www.we-online.com/components/products/datasheet/150060GS55040.pdf |  |  | D265 | Tiro-clas | 2 | 10 | 1
optoelectronic | LED |  | Wurth | 150060YS55040 |  |  | 100 | 20mA | Yellow | Vf = 2,0V | SMD | 0603 | https://www.we-online.com/components/products/datasheet/150060YS55040.pdf |  |  | D265 | Tiro-clas | 2 | 10 | 2
optoelectronic | LED |  | Wurth | 150060BS55040 |  |  | 100 | 20mA | Blue | Vf = 3,2V | SMD | 0603 | https://www.we-online.com/components/products/datasheet/150060BS55040.pdf |  |  | D265 | Tiro-clas | 2 | 10 | 3
optoelectronic | LED |  | Wurth | 150060RS55040 |  |  | 100 | 20mA | Red | Vf = 2,0V | SMD | 0603 | https://www.we-online.com/components/products/datasheet/150060RS55040.pdf |  |  | D265 | Tiro-clas | 2 | 10 | 4
optoelectronic | LED |  | Wurth | 150060AS55040 |  |  | 300 | 20mA | Amber | Vf = 2,0V | SMD | 0603 | https://www.we-online.com/components/products/datasheet/150060AS55040.pdf |  |  | D265 | Tiro-clas | 2 | 10 | 5
passiveComponents | resistors |  | TE Connectivity | RLP73K3AR11FTDF | Farnell | 2805295 | 30 | 0R11 | Shunt | 2W, 1% | SMD | 2512 | https://www.te.com/commerce/DocumentDelivery/DDEController?Action=srchrtrv&DocNm=1773269&DocType=Data%20Sheet&DocLang=English&DocFormat=pdf&PartCntxt=2-2176057-6 | https://fr.farnell.com/te-connectivity/rlp73k3ar11ftdf/resis-mesure-courant-0r11-1-2w/dp/2805295 |  | D265 | Tiro-clas | 1 | 1 | 2
passiveComponents | resistors |  | TE Connectivity | RLP73K3AR16JTE | Farnell | 2805301 | 30 | 0R16 | Shunt | 2W, 5% | SMD | 2512 | https://www.te.com/commerce/DocumentDelivery/DDEController?Action=srchrtrv&DocNm=1773269&DocType=Data%20Sheet&DocLang=English&DocFormat=pdf&PartCntxt=2-2176057-6 | https://fr.farnell.com/te-connectivity/rlp73k3ar16jte/resis-mesure-courant-0r16-5-2w/dp/2805301 |  | D265 | Tiro-clas | 1 | 1 | 3
passiveComponents | resistors |  | TE Connectivity | RLP73N3AR075JTE | Farnell | 2991966 | 30 | 0R075 | Shunt | 2W, 5% | SMD | 2512 | https://www.te.com/commerce/DocumentDelivery/DDEController?Action=srchrtrv&DocNm=1773269&DocType=Data%20Sheet&DocLang=English&DocFormat=pdf&PartCntxt=2-2176057-6 | https://fr.farnell.com/cgs-te-connectivity/2-2176058-2/res-0r075-1-2w-2512-couche-epaisse/dp/2991966 |  | D265 | Tiro-clas | 1 | 1 | 1
passiveComponents | resistors |  | TE.com | HSC1004R7J | RS | 161-6160 | 5 | 4R7 | High power | 100W, 5% | - |  | https://www.te.com/commerce/DocumentDelivery/DDEController?Action=srchrtrv&DocNm=1773035&DocType=Data%20Sheet&DocLang=English&DocFormat=pdf&PartCntxt=4-1625999-0 | https://fr.rs-online.com/web/p/resistances-a-montage-sur-chassis/1616160?srsltid=AfmBOop0jcqseR1NIzLS56Ms30h0mR5eTwPKPFeyTX_Ml5i3R1xd3X-E |  | D265 | Tiro-clas | 1 | - | -
passiveComponents | resistors |  | Vishay | RCWE1210R300FKEA | Farnell | 1838677 | 10 | 0R3 | Shunt | 1W, 1% | SMD | 1210 | https://www.vishay.com/docs/20019/rcwe.pdf | https://fr.farnell.com/vishay/rcwe1210r300fkea/resistance-couche-epaisse-r3-1/dp/1838677 |  | D265 | Tiro-clas | 1 | 3 | 1
passiveComponents | inductors |  | Wurth | 744766001 |  |  | 8 | 100n | Wire inductor | 450 mA max | SMT | 4532 | https://www.we-online.com/components/products/datasheet/744766001.pdf |  |  | D265 | Tiro-clas | 1 | 5 | 1
passiveComponents | resistors |  | Wurth | 560050350011 |  |  | 50 | 0R2 | Shunt | 0,75W, 1% | SMD | 2010 | https://www.we-online.com/components/products/datasheet/560050350011.pdf |  |  | D265 | Tiro-clas | 1 | 2 | 1
passiveComponents | inductors |  | Wurth | 74438356220 |  |  | 3 | 22u | Power Inductor | 1,85A | SMT | 4020 | https://www.we-online.com/components/products/datasheet/74438356220.pdf |  |  | D265 | Tiro-clas | 1 | 5 | 2
passiveComponents | inductors |  | Wurth | 74404084220 |  |  | 40 | 22u | Power Inductor | 2,1A max | SMT | 8040 | https://www.we-online.com/components/products/datasheet/74404084220.pdf |  |  | D265 | Tiro-clas | 1 | 6 | 1
passiveComponents | inductors |  | Wurth | 74404086221 |  |  | 15 | 220u | Power Inductor | 0,95A max | SMT | 8065 | https://www.we-online.com/components/products/datasheet/74404086221.pdf |  |  | D265 | Tiro-clas | 1 | 6 | 2
passiveComponents | inductors |  | Wurth | 744066005 |  |  | 3 | 5u | Tiny Power Inductor | 5,3A max | SMT | 1035 | https://www.we-online.com/components/products/datasheet/744066005.pdf |  |  | D265 | Tiro-clas | 1 | 6 | 3
passiveComponents | inductors |  | Wurth | 7447709220 |  |  | 37 | 22u | Power Inductor | 6,5A | SMT | 1210 | https://www.we-online.com/components/products/datasheet/7447709220.pdf |  |  | D265 | Tiro-clas | 1 | 7 | 1
passiveComponents | inductors |  | Wurth | 784771220 |  |  | 6 | 22u | Power Inductor | 3,5A | SMT | 1260 | https://www.we-online.com/components/products/datasheet/744771122.pdf |  |  | D265 | Tiro-clas | 1 | 7 | 2
passiveComponents | capacitors |  | Wurth | 865060462010 |  |  | 48 | 1000u | Aluminum Electrolytic | 25V max | SMD | 12,5 x 14,0 | https://www.we-online.com/components/products/datasheet/865060462010.pdf |  |  | D265 | Tiro-clas | 1 | 10 | 1
passiveComponents | capacitors |  | Wurth | 865060445005 |  |  | 50 | 100u | Aluminum Electrolytic | 25V max | SMD | 6,3 x 7,7 | https://www.we-online.com/components/products/datasheet/865060445005.pdf |  |  | D265 | Tiro-clas | 1 | 9 | 5
passiveComponents | capacitors |  | Wurth | 865060440001 |  |  | 80 | 10u | Aluminum Electrolytic | 25V max | SMD | 4,0 x 5,5 | https://www.we-online.com/components/products/datasheet/865060440001.pdf |  |  | D265 | Tiro-clas | 1 | 9 | 2
passiveComponents | capacitors |  | Wurth | 865060640001 |  |  | 100 | 1u | Aluminum Electrolytic | 50V max | SMD | 4,0 x 5,5 | https://www.we-online.com/components/products/datasheet/865060640001.pdf |  |  | D265 | Tiro-clas | 1 | 11 | 1
passiveComponents | capacitors |  | Wurth | 865060463011 |  |  | 48 | 2200u | Aluminum Electrolytic | 25V max | SMD | 16,0 x 17,0 | https://www.we-online.com/components/products/datasheet/865060463011.pdf |  |  | D265 | Tiro-clas | 1 | 10 | 4
passiveComponents | capacitors |  | Wurth | 865080463017 |  |  | 10 | 2200u | Aluminum Electrolytic | 25V | SMD | 16,0x17,0 | https://www.we-online.com/components/products/datasheet/865080463017.pdf |  |  | D265 | Tiro-clas | 1 | 10 | 7
passiveComponents | capacitors |  | Wurth | 865060453007 |  |  | 48 | 220u | Aluminum Electrolytic | 25V max | SMD | 8,0 x 10,5 | https://www.we-online.com/components/products/datasheet/865060453007.pdf |  |  | D265 | Tiro-clas | 1 | 9 | 6
passiveComponents | capacitors |  | Wurth | 865060657012 |  |  | 16 | 220u | Aluminum Electrolytic | 50V max | SMD | 10,0 x 10,5 | https://www.we-online.com/components/products/datasheet/865060657012.pdf |  |  | D265 | Tiro-clas | 1 | 11 | 3
passiveComponents | inductors |  | Wurth | 7447709680 |  |  | 9 | 68u | Power Inductor | 3,2A | SMT | 1210 | https://www.we-online.com/components/products/datasheet/7447709680.pdf |  |  | D265 | Tiro-clas | 1 | 7 | 3
passiveComponents | inductors |  | Wurth | 744821120 |  |  | 4 | 20m | Common Mode Power Line Choke | 0,5A | THT | X5 | https://www.we-online.com/components/products/datasheet/744821120.pdf |  |  | D265 | Tiro-clas | 1 | 8 | 1
passiveComponents | capacitors |  | Wurth | 865060240001 |  |  | 8 | 22u | Aluminum Electrolytic | 10V max | SMD | 4,0 x 5,5 | https://www.we-online.com/components/products/datasheet/865060240001.pdf |  |  | D265 | Tiro-clas | 1 | 9 | 1
passiveComponents | capacitors |  | Wurth | 865060442002 |  |  | 30 | 22u | Aluminum Electrolytic | 25V max | SMD | 5,0 x 5,5 | https://www.we-online.com/components/products/datasheet/865060442002.pdf |  |  | D265 | Tiro-clas | 1 | 9 | 3
passiveComponents | capacitors |  | Wurth | 865060457009 |  |  | 38 | 470u | Aluminum Electrolytic | 25V max | SMD | 10,0 x 10,5 | https://www.we-online.com/components/products/datasheet/865060457009.pdf |  |  | D265 | Tiro-clas | 1 | 9 | 7
passiveComponents | capacitors |  | Wurth | 865060443004 |  |  | 30 | 47u | Aluminum Electrolytic | 25V max | SMD | 6,3 x 5,5 | https://www.we-online.com/components/products/datasheet/865060443004.pdf |  |  | D265 | Tiro-clas | 1 | 9 | 4
passiveComponents | capacitors |  | Wurth | 865060642004 |  |  | 40 | 4u7 | Aluminum Electrolytic | 50V max | SMD | 5,0 x 5,5 | https://www.we-online.com/components/products/datasheet/865060642004.pdf |  |  | D265 | Tiro-clas | 1 | 11 | 2
passiveComponents | capacitors |  | Wurth | 860010 |  |  | 1 | Kit | Aluminum Electrolytic | 16V max | THT | kit | https://www.we-online.com/en/components/products/download/inlay/860010 |  |  | Patricia
passiveComponents | capacitors |  | Wurth | 865061 |  |  | 1 | Kit | Aluminum Electrolytic | 1uF -> 2200uF, 25V -> 50V | SMD | kit | https://www.we-online.com/en/components/products/download/inlay/865061 |  |  | Patricia
passiveComponents | capacitors |  | Vishay | VJ0603HIFRQ1KITHT |  |  | 1 | Kit | MLCC | 1pF -> 47pF, 100V -> 200V | SMD | 0603 | https://www.vishay.com/docs/45259/vjhifreq-designkit.pdf |  |  | Patricia
passiveComponents | capacitors |  | Vishay | VJ0603HIFRQ2KITHT |  |  | 1 | Kit | MLCC | 56pF -> 270pF, 16V -> 50V | SMD | 0603 | https://www.vishay.com/docs/45259/vjhifreq-designkit.pdf |  |  | Patricia
passiveComponents | inductors |  | Wurth | 7447860139 |  |  | 100 | 39n | Multilayer SMD-inductors | 400mA | SMD | 0603 | https://www.we-online.com/components/products/datasheet/7447860139.pdf |  |  | D265 | Tiro-clas | 1 | 5 | 3
power | AC-DC_Converters |  | Multicomp Pro | MP-LD30-23B15R2 | Farnell | 3780527 | 4 | 15V | PSU | 2A, 30W max | THT | custom | https://www.farnell.com/datasheets/3550987.pdf | https://fr.farnell.com/multicomp-pro/mp-ld30-23b15r2/power-supply-ac-dc-15v-2a/dp/3780527 |  | D265 | Tiro-clas | 2 | - | -
power | AC-DC_Converters |  | Multicomp Pro | MP-LDE06-20B05 | Farnell | 3556397 | 4 | 5V | PSU | 1,2A, 6W max | THT | custom | https://www.farnell.com/datasheets/3155173.pdf | https://fr.farnell.com/multicomp-pro/mp-lde06-20b05/alimentation-ac-dc-5v-1-2a/dp/3556397 |  | D265 | Tiro-clas | 2 | - | -
power | AC-DC_Converters |  | TracoPower | TMLM 04253 | Farnell | 1772165 | 1 | 5V, 3.3V | PSU | 600mA max (5V), 150mA max (3,3V) | THT | custom | https://www.tracopower.com/sites/default/files/products/datasheets/tmlm_datasheet.pdf?t=1730163601 | https://fr.farnell.com/tracopower/tmlm-04253/alimentation-montage-pcb-4w-2/dp/1772165 |  | D265 | Tiro-clas | 2 | - | -
power | AC-DC_Converters |  | TracoPower | TMP 15148 | Farnell | 1672144 | 1 | 48V | PSU | 310mA, 15W max | THT | custom | https://www.tracopower.com/sites/default/files/products/datasheets/tmp_tmpm_datasheet.pdf?t=1730163601 | https://fr.farnell.com/traco-power/tmp-15148/convertisseur-ac-dc-48v-0-3a-15w/dp/1672144 |  | D265 | Tiro-clas | 2 | - | -
semiconductors | amplifier |  | Broadcom | HCPL-7800A-500E | RS | 174-4179 | 16 | 8V/V | Isolated Amplifier | 5,5V | SMD | Gull Wing 300 |  | https://fr.rs-online.com/web/p/amplificateurs-d-isolement/1744179 |  | D265 | Tiro-clas | 3 | 1 | 1
semiconductors | amplifier |  | Onsemi | NCS199A3RSQT2G | Farnell | 2981170 | 53 | G=200 | Current shunt monitors | 2,2V to 26V | SMD | SC-70 |  | https://fr.farnell.com/on-semiconductor/ncs199a3rsqt2g/ampli-musure-de-cour-40khz-40/dp/2981170 |  | D265 | Tiro-clas | 3 | 3 | 4
semiconductors | buffer |  | Texas Instrument | 74LVC2G241DCTRG4 | Mouser | 595-74LVC2G241DCTRG4 | 7 |  | Dual buffer 3-state outputs | 5V | SMD | SM-8 |  | https://www.mouser.fr/ProductDetail/Texas-Instruments/74LVC2G241DCTRE4?qs=pajgIaoyDUiznWLk8MWiIA%3D%3D&utm_id=10065920283 |  | D265 | Tiro-clas | 3 | 3 | 3
embeddedSolutions | communicationRF |  |  | TXRX433 | GoTronic | 38176 | 8 | 433MHz RX/TX | Transceiver 433.92MHz | ASK | THT |  |  | https://www.gotronic.fr/art-kit-emetteur-recepteur-433-mhz-txrx433-36883.htm |  | D265 | Tiro-clas | 3 | 6 | 6
power | DC-DC_Converters |  | CUI Inc. | PQQ6W-Q24-S15-S | Mouser | 490-PQQ6W-Q24-S15-S | 18 | 15V | Isolated DC-DC | 6W max, 9V-36V in | THT | SIP-7 | https://www.mouser.fr/datasheet/2/670/pqq6w_s-2474782.pdf | https://www.mouser.fr/ProductDetail/CUI-Inc/PQQ6W-Q24-S15-S?qs=zW32dvEIR3vARH8AVKQkeg%3D%3D |  | D265 | Tiro-clas | 2 | 4 | 2
power | DC-DC_Converters |  | Multicomp Pro | MPRB2415S-6W | Farnell | 3652723 | 5 | 15V | Isolated DC-DC | 6W max, 9V-36V in | THT | SIP-7 | https://www.farnell.com/datasheets/3195174.pdf | https://fr.farnell.com/multicomp-pro/mprb2415s-6w/convertisseur-dc-dc-15v-0-4a/dp/3652723 |  | D265 | Tiro-clas | 2 | 4 | 3
power | DC-DC_Converters |  | Recom | R-78B5.0-2.0 | RS | 139-2959 | 0 | 5V | Step-Down | 2A max, 6,5V - 32V in | THT | SIP3 | https://g.recomcdn.com/media/Datasheet/pdf/.fldP_2rX/.t124a6889b0e40eeb9ac1/Datasheet-285/R-78B-2_0.pdf | https://fr.rs-online.com/web/p/regulateurs-a-decoupage/1392959 |  | D265 | Tiro-clas | 2 | 3 | 1
power | DC-DC_Converters |  | Wurth | 171013801 |  |  | 10 | 0,85V to 13V | Step-Down | 1A max, 3,5V - 38V in | SMD | custom | https://www.we-online.com/components/products/datasheet/171013801.pdf |  |  | D265 | Tiro-clas | 2 | 3 | 3
power | DC-DC_Converters |  | Wurth | 173950378 |  |  | 4 | 3,3V | Step-Down | 500mA max, 6V - 28V in | THT | Type F | https://www.we-online.com/components/products/datasheet/173950378.pdf |  |  | D265 | Tiro-clas | 2 | - | -
power | DC-DC_Converters |  | Wurth | 173950536 |  |  | 6 | 5V | Step-Down | 500mA max, 6,5V - 36V in | THT | Type F | https://www.we-online.com/components/products/datasheet/173950536.pdf |  |  | D265 | Tiro-clas | 2 | 3 | 2
power | DC-DC_Converters |  | Wurth | 17791063215 |  |  | 11 | 3,3V to 6V | Isolated DC-DC | 1W max, 8V to 42V | SMD | SIP-8 | https://www.we-online.com/components/products/datasheet/17791063215.pdf |  |  | D265 | Tiro-clas | 2 | 4 | 1
semiconductors | diodes |  | Diodes Inc. | 1N4148WS-7-F | Farnell | 1843678 | 20 | 1,25V | Low signal diode | 150mA max | SMD | SOD-323 | https://www.diodes.com/datasheet/download/1N4148WS.pdf | https://fr.farnell.com/diodes-inc/1n4148ws-7-f/diodess-commutateur75v0-2wsod323/dp/1843678 |  | D265 | Tiro-clas | 2 | 5 | 1
semiconductors | diodes |  | Littelfuse | DST10100S | Farnell | 4066566 | 35 | 10A | Schottky | 0,7V, 100V max | SMD | TO-227B | https://www.littelfuse.com/media?resourcetype=datasheets&itemid=912974f6-eef7-4845-b8b6-22945ea4a824&filename=littelfuse-power-semiconductor-schottky-rectifier-dst10100s-datasheet | https://fr.farnell.com/littelfuse/dst10100s/schottky-rectifier-100v-to-277b/dp/4066566 |  | D265 | Tiro-clas | 2 | 5 | 3
semiconductors | diodes |  | Onsemi | FSV340AF | Farnell | 2824885 | 18 | 3A | Schottky | 0,5V, 40V max | SMD | DO-214AD | https://www.onsemi.com/pdf/datasheet/fsv340af-d.pdf | https://fr.farnell.com/onsemi/fsv340af/diode-schottky-aec-q101-40v-do/dp/2824885 |  | D265 | Tiro-clas | 2 | 6 | 3
semiconductors | diodes |  | STMicroElectronic | STPS0520Z | Farnell | 1467545 | 3 | 500mA | Schottky | 20V max | SMD | SOD-123 | https://www.st.com/resource/en/datasheet/stps0520z.pdf | https://fr.farnell.com/stmicroelectronics/stps0520z/diode-schottky-2a-20v-cms-sod/dp/1467545 |  | D265 | Tiro-clas | 2 | 6 | 4
semiconductors | diodes |  | STMicroElectronic | USBLC6-2SC6 | RS | 624-7693 | 56 | 6V | TVS | USB protection | SMD | SOT-23 | https://www.st.com/resource/en/datasheet/usblc6-2.pdf | https://fr.rs-online.com/web/p/diodes-tvs/6247693 |  | D265 | Tiro-clas | 2 | 5 | 2
semiconductors | diodes |  | Vishay | SS2P5-M3/84A | Farnell | 1812486 | 18 | 2A | Schottky | 0,62V, 50V max | SMD | DO-220AA | https://www.vishay.com/docs/88943/ss2p5.pdf | https://fr.farnell.com/vishay/ss2p5-m3-84a/diode-rectifier-schottky-2a-50v/dp/1812486 |  | D265 | Tiro-clas | 2 | 6 | 2
semiconductors | diodes |  | Vishay | VS-15TQ060S-M3 | Farnell | 2909608 | 35 | 15A | Schottky | 0,56V , 60V max | SMD | TO-263AB | https://www.vishay.com/docs/94927/vs-15tq060s-m3.pdf | https://fr.farnell.com/vishay/vs-15tq060s-m3/diode-schottky-simple-60v-to263ab/dp/2909608 |  | D265 | Tiro-clas | 2 | 6 | 1
semiconductors | gateDriver |  | Broadcom | HCPL-315J_500E | RS | 174-4163 | 7 | 0,5A | Dual Channel gate Driver optocoupler |  | SMD | SO-16 |  | https://fr.rs-online.com/web/p/optocoupleurs/1744163 |  | D265 | Tiro-clas | 3 | 1 | 2
semiconductors | gpioExpander |  | NXP | PCF8574TS/3,118 | RS | 219-4650 | 9 | 8 channels | I2C 8-channel gpio Expander | 2,5V - 6V | SMD | SSOP20 |  | https://fr.rs-online.com/web/p/expandeurs-e-s/2194650 |  | D265 | Tiro-clas | 3 | 3 | 1
semiconductors | gpioExpander |  | Microchip | MCP23017-E/SO | RS | 403-816 | 8 | 16 channels | I2C 16-channel gpio Expander | 1V8 - 5V5 | SMD | SOIC-28 |  | https://fr.rs-online.com/web/p/expandeurs-e-s/0403816?gb=s&searchId=5777323f-195c-44f1-b92f-cb4dbfb01835 |  | D265 | Tiro-clas | 3 | 4 | 3
semiconductors | integratedCircuits |  | Microchip | MCP2120-I/SL | Farnell | 1084305 | 2 | 312,5kBaud | IrDA Encode/Decode | UART to IR | SMD | SOIC-14 | https://ww1.microchip.com/downloads/aemDocuments/documents/APID/ProductDocuments/DataSheets/21618b.pdf | https://fr.farnell.com/microchip/mcp2120-i-sl/controleur-irda-cms/dp/1084305 |  | D265 | Tiro-clas | 2 | - | -
semiconductors | integratedCircuits |  | Texas Instrument | LM3404MA/NOPB | Mouser | 926-LM3404MA/NOPB | 8 | 1A | Led driver | 6V to 42V in | SMD | SOIC-8 | https://www.ti.com/lit/ds/symlink/lm3404.pdf?ts=1730061548853 |  |  | D265 | Tiro-clas | 2 | - | -
semiconductors | ledDriver |  | NXP | CA9685PW,118 | Farnell | 1854074 | 9 | 16 channels | Driver LED, Bus I2C, 12 bits | 2,3 - 5,5V/25mA | SMD | TSSOP-28 |  | https://fr.farnell.com/nxp/pca9685pw-118/driver-de-led-rgba-28-tssop/dp/1854074 |  | D265 | Tiro-clas | 3 | 4 | 4
semiconductors | motorDriver |  | Trinamic | TMC2225-SA-T | Farnell | 3690353 | 51 | stepper driver | Stepper, 1 output, PWM/UART input | 4,75V - 36V, 2A max | SMD | HTSSOP-28 |  | https://fr.farnell.com/trinamic/tmc2225-sa-t/driver-de-moteur-2a-40-a-125-c/dp/3690353 |  | D265 | Tiro-clas | 3 | 5 | 3
semiconductors | motorDriver |  | Trinamic | TMC2226-SAT-T | Farnell | 3439216 | 6 | stepper driver | Stepper, 1 output, PWM/UART input | 4,75V - 29V, 2.8A max | SMD | HTSSOP-28 |  | https://fr.farnell.com/trinamic/tmc2226-sa-t/driver-de-moteur-40-a-125-c/dp/3439216 |  | D265 | Tiro-clas | 3 | 5 | 2
semiconductors | motorDriver |  | Trinamic | TMC2590-TA | Farnell | 3237586 | 17 | stepper driver | Stepper driver for two-phase bipolar motors with external MOSFETs, PWM/SPI input | 5V | SMD | TQFP-EP |  | https://fr.farnell.com/trinamic/tmc2590-ta/driver-de-moteur-40-a-125-c/dp/3237586 |  | D265 | Tiro-clas | 3 | 5 | 1
semiconductors | powerManagementICs |  | Analog Device | LT1076CR#PBF | Mouser | 584-LT1076CR#PBF | 7 | 2,5V to 50V | Step-Down | 2,6A max | SMD | custom | https://www.analog.com/media/en/technical-documentation/data-sheets/1074fds.pdf | https://www.mouser.fr/ProductDetail/Analog-Devices/LT1076CRPBF?qs=ytflclh7QUUzWtSF1iWaww%3D%3D |  | D265 | Tiro-clas | 2 | 2 | 1
semiconductors | powerManagementICs |  | Analog Device | MAX5033DUSA+ | Mouser | 700-MAX5033DUSA | 10 | 1,25V to 13,2V |  | 500mA max, 7,5V to 76V in | SMD | SOIC-8 | https://www.analog.com/media/en/technical-documentation/data-sheets/MAX5033.pdf | https://www.mouser.fr/ProductDetail/Analog-Devices-Maxim-Integrated/MAX5033DUSA%2b?qs=Mqkh4jHMT8wLmeJI8jUixA%3D%3D |  | D265 | Tiro-clas | 2 | - | -
semiconductors | powerManagementICs |  | Diodes Inc. | AP1509-50SG-13 | RS | 751-2923 | 10 | 5V | Step-Down | 2A max, 22V in, 150kHz | SMD | SOP-8L | https://www.diodes.com/datasheet/download/AP1509.pdf | https://fr.rs-online.com/web/p/convertisseurs-buck/7512923 |  | D265 | Tiro-clas | 2 | 2 | 2
semiconductors | powerManagementICs |  | Diodes Inc. | AZ1117CH2-3.3TRG1 | Farnell | 3483072 | 45 | 3,3V | LDO | 0,8A, max 18V | SMD | SOT-223 | https://www.diodes.com/datasheet/download/AZ1117C.pdf | https://fr.farnell.com/diodes-inc/az1117ch2-3-3trg1/ldo-fixe-3-3v-0-8a-20-a-125-c/dp/3483072 |  | D265 | Tiro-clas | 2 | 2 | 5
semiconductors | powerManagementICs |  | Diodes Inc. | AZ1117CH-3.3TRG1 | Farnell | 3483073 | 137 | 3,3V | LDO | 0,8A, max 18V | SMD | SOT-223 | https://www.diodes.com/datasheet/download/AZ1117C.pdf | https://fr.farnell.com/diodes-inc/az1117ch-3-3trg1/ldo-fixe-3-3v-0-8a-20-a-125-c/dp/3483073 |  | D265 | Tiro-clas | 2 | - | -
semiconductors | powerManagementICs |  | Diodes Inc. | AZ1117H-3.3TRE1 | RS | 921-0701 | 45 | 3,3V | LDO | 1A max, max 20V | SMD | SOT-223 | https://www.diodes.com/datasheet/download/AZ1117.pdf | https://fr.rs-online.com/web/p/regulateurs-de-tension/9210701 |  | D265 | Tiro-clas | 2 | 2 | 4
semiconductors | powerManagementICs |  | Microchip | MIC3172YM | Farnell | 2510055 | 24 | 3V-40V | Step-up | 1,25A | SMD | SOIC-8 | https://ww1.microchip.com/downloads/aemDocuments/documents/OTH/ProductDocuments/DataSheets/MIC2172-3172-100kHz-1.25A-Switching-Regulators-DS20006208A.pdf | https://fr.farnell.com/microchip/mic3172ym/ic-switching-reg-1-25a-100khz/dp/2510055 |  | D265 | Tiro-clas | 2 | 2 | 3
semiconductors | powerManagementICs |  | Microchip | MIC5219-3.3YMM | Farnell | 2510255 | 17 | 3,3V | LDO | 500mA, max 12V | SMD | SOP-8 | https://ww1.microchip.com/downloads/aemDocuments/documents/OTH/ProductDocuments/DataSheets/MIC5219-500mA-Peak-Output-LDO-Regulator-DS20006021A.pdf | https://fr.farnell.com/microchip/mic5219-3-3ymm/ldo-reg-12vin-0-5a-3-3v-1-8msop/dp/2510255 |  | D265 | Tiro-clas | 2 | 1 | 4
semiconductors | powerManagementICs |  | Microchip | MIC5317-3.3YM5-TR | Farnell | 2920683 | 8 | 3,3V | LDO | 150mA, max 6V | SMD | SOT-23 | https://ww1.microchip.com/downloads/aemDocuments/documents/OTH/ProductDocuments/DataSheets/MIC5317-High-Performance-Single-150mA-LDO-DS20006195B.pdf | https://fr.farnell.com/microchip/mic5317-3-3ym5-tr/ldo-fixe-3-3v-015a-40-a-125-c/dp/2920683 |  | D265 | Tiro-clas | 2 | - | -
sensors | current |  | LEM | GO 10-SME/SP3 | Farnell | 3796461 | 3 | 10A | Galvanic isolation current sensor | 3,3V | SMD | SOIC-8 |  | https://fr.farnell.com/lem/go-10-sme-sp3/capteur-courant-300khz-soic-8/dp/3796461 |  | D265 | Tiro-clas | 3 | 1 | 3
semiconductors | powerManagementICs |  | Rohm | BU18SD2MG-MTR | Farnell | 2546639 | 50 | 1,8V | LDO | 200mA, max 6V in | SMD | SSOP-5 | https://fscdn.rohm.com/en/products/databook/datasheet/ic/power/linear_regulator/buxxsd2mg-m-e.pdf | https://fr.farnell.com/rohm/bu18sd2mg-mtr/ldo-fixe-aec-q100-1-8v-0-2a-ssop/dp/2546639 |  | D265 | Tiro-clas | 2 | 1 | 2
semiconductors | powerManagementICs |  | Rohm | BU33SD5WG-TR | Farnell | 3011248 | 45 | 3,3V | LDO | 500mA, max 6V in | SMD | SSOP-5 | https://fscdn.rohm.com/en/products/databook/datasheet/ic/power/linear_regulator/buxxsd5wg-e.pdf | https://fr.farnell.com/rohm/bu33sd5wg-tr/ldo-fixe-3-3v-0-5a-40-a-105-c/dp/3011248 |  | D265 | Tiro-clas | 2 | 1 | 1
passiveComponents | quartz |  | Ecliptek | EC2620TS-25.000M TR | Farnell | 3572937 | 9 | 25MHz | Quartz | 15pF | SMD | 7mm x 5mm |  | https://fr.farnell.com/ecliptek/ec2620ts-25-000m-tr/oscillateur-25mhz-lvcmos-7mm-x/dp/3572937 |  | D265 | Tiro-clas | 3 | 2 | 4
passiveComponents | quartz |  | Murata Electronics | XRCGB27M120F3M00R0 | Mouser | 81-XRCGB27M120F3M0R0 | 7 | 27,12MHz | Quartz | 6pF | SMD | 2mm x 1,6mm |  | https://www.mouser.fr/ProductDetail/Murata-Electronics/XRCGB27M120F3M00R0?qs=e%252BE4OD6MgMfl8qhJDYq%252BAg%3D%3D |  | D265 | Tiro-clas | 3 | 2 | 3
passiveComponents | quartz |  | Abracon | ABLS-16.000MHZ-20-B-3-H-T | Farnell | 3228387 | 39 | 16Mhz | Quartz |  | SMD | 11,5mm x 4,7mm |  | https://fr.farnell.com/abracon/abls-16-000mhz-20-b-3-h-t/quartz-16mhz-20pf-cms-hc-49us/dp/3228387 |  | D265 | Tiro-clas | 3 | 2 | 2
passiveComponents | quartz |  | Abracon | ABLS-7.3728MHZ-20-B-3-H-T | Farnell | 3228448 | 3 | 7,3728MHz | Quartz | 20pF | SMD | 11,5mm x 4,7mm |  | https://fr.farnell.com/abracon/abls-7-3728mhz-20-b-3-h-t/quartz-7-3728mhz-20pf-cms-hc-49us/dp/3228448 |  | D265 | Tiro-clas | 3 | 2 | 1
semiconductors | powerManagementICs |  | STMicroElectronic | L78M05CDT-TR | Farnell | 2382524 | 10 | 5V | LDO | 500mA, 10V-35V | SMD | TO-252-3 | https://www.st.com/resource/en/datasheet/l78m.pdf | https://fr.farnell.com/stmicroelectronics/l78m05cdt-tr/regulateur-de-tension-5v-0-5a/dp/2382524 |  | D265 | Tiro-clas | 2 | 1 | 3
semiconductors | powerManagementICs |  | Power Integrations | INN4073C-H183-TL | RS | 228-6331 | 4 | 1,7A | Flyback | 60W | SMD | custom |  | https://fr.rs-online.com/web/p/convertisseurs-ac-dc/2286331 |  | D265 | Tiro-clas | 3 | 1 | 4
optoelectronic | phototransistor |  | Broadcom | HCPL-817-300E | Farnell | 1244557 | 5 |  | Optocoupler phototransistor | 1,2V, 20mA | SMD | Gull Wing |  | https://fr.farnell.com/broadcom-limited/hcpl-817-300e/optocoupleur-tr-o-p-cms/dp/1244557 |  | D265 | Tiro-clas | 3 | 3 | 2
semiconductors | powerManagementICs |  | Power Integrations | CPZ1061M | RS | 228-6322P | 4 |  | Flyback | 75W | SMD | custom |  | https://fr.rs-online.com/web/p/convertisseurs-ac-dc/2286322P |  | D265 | Tiro-clas | 3 | 1 | 4
semiconductors | transceiverEth |  | Microchip | LAN8742A-CZ-TR | Farnell | 2857750 | 9 | 100Mbits | Transceiver Ethernet PHY, IEEE 802.3, IEEE 802.3u |  | SMD | SQFN |  | https://fr.farnell.com/microchip/lan8742a-cz-tr/transceiver-ethernet-10-100-mbps/dp/2857750 |  | D265 | Tiro-clas | 3 | 5 | 4
semiconductors | transceiverRF |  | Nordic Semiconductor | NRF24L01P-R7 | Farnell | 2842317 | 10 | Transceiver RF | 2.4GHz à 2.525GHz, GFSK | 2Mbps | SMD | QFN-20 |  | https://fr.farnell.com/nordic-semiconductor/nrf24l01p-r7/transceiver-rf-2mbps-2-525ghz/dp/2842317 |  | D265 | Tiro-clas | 3 | 4 | 1
sensors | IMU |  | STMicroElectronic | LSM6DSMTR | Farnell | 2664522 | 2 | accelerometer, gyroscope | IMU, ±16g | 1V7 - 3V6 | SMD | LGA-14L |  | https://fr.farnell.com/stmicroelectronics/lsm6dsmtr/mems-accelero-gyroscope-3d-lga/dp/2664522 |  | D265 | Tiro-clas | 3 | 4 | 2
semiconductors | transistors |  | Vishay | SQJ504EP-T1_GE3 | Farnell | 2886991 | 37 | 30A | Dual Mosfet (N+P) | 40V max | SMD | PowerPak SO | https://www.vishay.com/docs/76029/sqj504ep.pdf | https://fr.farnell.com/vishay/sqj504ep-t1-ge3/mosfet-aec-q101-canal-n-p-40v/dp/2886991 |  | D265 | Tiro-clas | 2 | 7 | 1
semiconductors | transistors |  | Rohm | RE1C002UNTCL | Farnell | 2965337 | 20 | 200mA | Mosfet N | 20V max | SMD | SOT-416FL | https://fscdn.rohm.com/en/products/databook/datasheet/discrete/transistor/mosfet/re1c002untcl-e.pdf | https://fr.farnell.com/rohm/re1c002untcl/mosfet-canal-n-20v-0-2a-150-c/dp/2965337 |  | D265 | Tiro-clas | 2 | 7 | 2
semiconductors | transistors |  | Nexperia | BUK9637-100E,118 | Farnell | 2254193 | 19 | 31A | Mosfet N | 100V max | SMD | TO-263 | https://assets.nexperia.com/documents/data-sheet/BUK9637-100E.pdf | https://fr.farnell.com/nexperia/buk9637-100e-118/mosfet-n-ch-100v-31a-d2pak/dp/2254193 |  | D265 | Tiro-clas | 2 | 7 | 3
semiconductors | transistors |  | Infineon | IRF540NPBF | RS | 914-8154 | 50 | 33A | Mosfet N | 33A max | THT | TO-220 | https://www.infineon.com/dgdl/Infineon-IRF540N-DataSheet-v01_01-EN.pdf?fileId=5546d462533600a4015355e39f0d19a1 | https://fr.rs-online.com/web/p/transistors-mosfet/9148154 |  | D265 | Tiro-clas | 2 | 8 | 1
semiconductors | transistors |  | Vishay | IRF510SPBF | Mouser | 844-IRF510SPBF | 20 | 5,6A | Mosfet N | 100V max | SMD | TO-263 | https://www.vishay.com/docs/91016/sihf510s.pdf | https://www.mouser.fr/ProductDetail/Vishay-Semiconductors/IRF510SPBF?qs=iXwvDCb7I7jeKqUeAvChjw%3D%3D |  | D265 | Tiro-clas | 2 | 8 | 3
semiconductors | transistors |  | Vishay | SQ2310ES-T1_BE3 | RS | 787-9443 | 22 | 6A | Mosfet N | 20V max | SMD | SOT-23 | https://www.vishay.com/docs/67036/sq2310es.pdf | https://fr.rs-online.com/web/p/transistors-mosfet/7879443 |  | D265 | Tiro-clas | 2 | 8 | 4
|  |  |  | BMP085 |  |  | 1 | [8 empty] | D265 | Tiro-clas | 3 | 6 | 5
|  |  |  | IDUINO HC-05 |  |  | 3 | [8 empty] | D265 | Tiro-clas | 3 | 6 | 3
|  |  |  | NRF24L05 |  |  | 6 | [8 empty] | D265 | Tiro-clas | 3 | 6 | 2
|  |  |  | module LORA 113060006 |  |  | 4 | [8 empty] | D265 | Tiro-clas | 3 | 6 | 1
|  |  |  | adafruit QT PY C3 |  |  | 1 | [8 empty] | D265 | Tiro-clas | 3 | 7 | 6
|  |  |  | IMU 10DOF |  |  | 2 | [8 empty] | D265 | Tiro-clas | 3 | 7 | 5
|  |  |  | MAX3097ECSE+ |  |  | 5 | [8 empty] | D265 | Tiro-clas | 3 | 7 | 4
|  |  |  | CY7C64225-28PVXCT |  |  | 5 | [8 empty] | D265 | Tiro-clas | 3 | 7 | 3
|  |  |  | CY7C64225-28PVXC |  |  | 9 | [8 empty] | D265 | Tiro-clas | 3 | 7 | 2
|  |  |  | SBC-TTL |  |  | 3 | [8 empty] | D265 | Tiro-clas | 3 | 7 | 1
|  |  |  | TCN75AVOA |  |  | 12 | [8 empty] | D265 | Tiro-clas | 3 | 6 | 4
passiveComponents | capacitors |  | Kemet | CER-ENG-KIT-30 | RS | 867-5444 | 1 | Kit | MLCC | 10pF -> 22uF, 6,3V -> 100V | SMD | 0805 | https://content.kemet.com/datasheets/CER_ENG_KIT_30.pdf | https://fr.rs-online.com/web/p/kits-de-condensateurs/8675444 |  | Patricia
passiveComponents | capacitors |  | Wurth | 885080 |  |  | 1 | Kit | MLCC | 1nF -> 22uF, 6,3V -> 50V | SMD | 1206, 1210, 1812 | https://www.we-online.com/en/components/products/download/inlay/885080 |  |  | Patricia
passiveComponents | capacitors |  | Wurth | 885060 |  |  | 1 | Kit | MLCC | 1pF -> 10uF, 6,3V -> 50V | SMD | 0603 | https://www.we-online.com/en/components/products/download/inlay/885060 |  |  | Patricia
passiveComponents | capacitors |  | Vishay | VJ0805HIFRQ2KITHT |  |  | 1 | Kit | MLCC | 100pF -> 1nF, 16V -> 100V | SMD | 0805 | https://www.vishay.com/docs/45259/vjhifreq-designkit.pdf |  |  | Patricia
passiveComponents | capacitors |  | Wurth | 885070 |  |  | 1 | Kit | MLCC | 1pF -> 47uF, 6,3V -> 50V | SMD | 0805 | https://www.we-online.com/en/components/products/download/inlay/885070 |  |  | Patricia
passiveComponents | capacitors |  | Wurth | 885012005055 |  |  | 1000 | 10p | MLCC, NP0 | 50V max | SMD | 0402 | https://www.we-online.com/components/products/datasheet/885012005055.pdf |  |  | D265
passiveComponents | capacitors |  | Wurth | 885012005056 |  |  | 100 | 15p | MLCC, NP0 | 50V max | SMD | 0402 | https://www.we-online.com/components/products/datasheet/885012005056.pdf |  |  | D265
passiveComponents | inductors |  | Wurth | 74404054068 |  |  | 100 | 6u8 | Semi-shielded Power Inductor | 2,5A | SMD | 5040 | https://www.we-online.com/components/products/datasheet/74404054068.pdf |  |  | D265
passiveComponents | inductors |  | Wurth | 74404052047 |  |  | 100 | 4u7 | Semi-shielded Power Inductor | 2,3A | SMD | 5020 | https://www.we-online.com/components/products/datasheet/74404052047.pdf |  |  | D265
passiveComponents | resistors |  | Multicomp Pro | MCWR04X1003FTL | Farnell | 2446411 | 10000 | 100k | General purpose | 62,5 mW, 1% | SMD | 0402 | https://4donline.ihs.com/images/VipMasterIC/IC/SCMP/SCMP-S-A0009547702/SCMP-S-A0009547702-1.pdf?hkey=6D3A4C79FDBF58556ACFDE234799DDF0 | https://fr.farnell.com/multicomp/mcwr04x1003ftl/res-couche-epaisse-100k-1-0-0625w/dp/2446411 |  | D265
passiveComponents | resistors |  | Multicomp Pro | MCWR04X10R0FTL | Farnell | 2446415 | 10000 | 10R | General purpose | 62,5 mW, 1% | SMD | 0402 | https://4donline.ihs.com/images/VipMasterIC/IC/SCMP/SCMP-S-A0009547702/SCMP-S-A0009547702-1.pdf?hkey=6D3A4C79FDBF58556ACFDE234799DDF0 | https://fr.farnell.com/multicomp/mcwr04x10r0ftl/res-couche-epaisse-10r-1-0-0625w/dp/2446415 |  | D265
passiveComponents | resistors |  | Multicomp Pro | MCWR04X1001FTL | Farnell | 2446437 | 10000 | 1k | General purpose | 62,5 mW, 1% | SMD | 0402 | https://4donline.ihs.com/images/VipMasterIC/IC/SCMP/SCMP-S-A0009547702/SCMP-S-A0009547702-1.pdf?hkey=6D3A4C79FDBF58556ACFDE234799DDF0 | https://fr.farnell.com/multicomp/mcwr04x1001ftl/resistance-thick-film-1kohm-1/dp/2446437 |  | D265
passiveComponents | resistors |  | Multicomp Pro | MCWR04X1602FTL | Farnell | 2447114 | 500 | 16k | General purpose | 62,5 mW, 1% | SMD | 0402 | https://4donline.ihs.com/images/VipMasterIC/IC/SCMP/SCMP-S-A0009547702/SCMP-S-A0009547702-1.pdf?hkey=6D3A4C79FDBF58556ACFDE234799DDF0 | https://fr.farnell.com/multicomp/mcwr04x1602ftl/resistance-thick-film-16kohm-1/dp/2447114 |  | D265
passiveComponents | resistors |  | Multicomp Pro | MCMR04X4022FTL | Farnell | 2073013 | 500 | 40k2 | General purpose | 62,5 mW, 1% | SMD | 0402 | https://www.farnell.com/datasheets/2860635.pdf | https://fr.farnell.com/multicomp-pro/mcmr04x4022ftl/res-ceramique-40-2k-1-0-0625w/dp/2073013 |  | D265
passiveComponents | resistors |  | Multicomp Pro | MC00625W040217K68 | Farnell | 1803125 | 500 | 7k68 | General purpose | 62,5 mW, 1% | SMD | 0402 | https://www.farnell.com/datasheets/2861421.pdf | https://fr.farnell.com/multicomp/mc00625w040217k68/res-couche-epaisse-7-68k-1-0-0625w/dp/1803125 |  | D265
passiveComponents | resistors |  | Multicomp Pro | MCMR04X200 JTL | Farnell | 2072748 | 500 | 20R | General purpose | 62,5 mW, 5% | SMD | 0402 | https://www.farnell.com/datasheets/2860635.pdf | https://fr.farnell.com/multicomp-pro/mcmr04x200-jtl/res-ceramique-20r-5-0-0625w-0402/dp/2072748 |  | D265
passiveComponents | capacitors |  | Wurth | 885012106031 |  |  | 1000 | 10u | MLCC, X5R | 25V max | SMD | 0603 | https://www.we-online.com/components/products/datasheet/885012106031.pdf |  |  | D265
connector | powerJacks |  | Wurth | 694001 |  |  | 1 | Kit | Power jacks |  | SMD | kit | https://www.we-online.com/en/components/products/download/inlay/694001 |  |  | Patricia
connector | pinHeader_pinSocket |  | Wurth | 613001 |  |  | 1 | Kit | Pin Header connectors |  | SMD, THT | 1.27mm, 2mm, 2.54mm | https://www.we-online.com/en/components/products/download/inlay/613001 |  |  | Patricia
optoelectronic | LED |  | Wurth | 150151 |  |  | 1 | Kit | PLCC, THT, Ceramic LEDS |  | SMD, THT | kit | https://www.we-online.com/en/components/products/download/inlay/150151 |  |  | Patricia
optoelectronic | LED |  | Wurth | 158300 |  |  | 1 | Kit | PLCC, Ceramic LED | White LEDs | SMD | kit | https://www.we-online.com/en/components/products/download/inlay/158300 |  |  | Patricia
passiveComponents | resistors |  | Yageo | AC0805FR-07100KL | RS | 197-8152 | 5000 | 100k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-AC_51_RoHS_L_11.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1978152 |  | Patricia
passiveComponents | inductors |  | Wurth | 784770 |  |  | 1 | Kit | SMD Power Inductor | 1uH -> 1mH | SMD | 1260, 1280, 1210 | https://www.we-online.com/components/products/datasheet/784770.pdf |  |  | Patricia
passiveComponents | quartz |  | Wurth | 830002 |  |  | 1 | Kit | SMD Quartz Crytals |  | SMD | kit | https://www.we-online.com/en/components/products/download/inlay/830002 |  |  | Patricia
passiveComponents | resistors |  | Wurth | 560112 |  |  | 1 | Kit | General purpose | 0R -> 1M | SMD | 0402 | https://www.we-online.com/en/components/products/download/inlay/560112 |  |  | Patricia
passiveComponents | quartz |  | Wurth | 830001 |  |  | 1 | Kit | 32,768 kHz Quartz Crystal | 32,768kHz | SMD, THT | kit | https://www.we-online.com/en/components/products/download/inlay/830001 |  |  | Patricia
passiveComponents | resistors |  | Wurth | 560114 |  |  | 1 | Kit | General purpose | 0R -> 1M | SMD | 0805, 1206 | https://www.we-online.com/en/components/products/download/inlay/560114 |  |  | Patricia
passiveComponents | inductors |  | Wurth | 744790 |  |  | 1 | Kit | Multilayer SMD-inductors | 0,047uH -> 22uH | SMD | 0603, 0805, 1206 | https://www.we-online.com/en/components/products/download/inlay/744790 |  |  | Patricia
passiveComponents | capacitors |  | Wurth | 885012107019 |  |  | 1000 | 22u | MLCC, X5R | 25V | SMD | 0805 | https://www.we-online.com/components/products/datasheet/885012107019.pdf |  |  | D265
passiveComponents | capacitors |  | Wurth | 885012106012 |  |  | 1000 | 4u7 | MLCC, X5R | 10V max | SMD | 0603 | https://www.we-online.com/components/products/datasheet/885012106012.pdf |  |  | D265
passiveComponents | resistors |  | Yageo | AC0805FR-0710KL | RS | 197-8157 | 5000 | 10k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-AC_51_RoHS_L_11.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1978157 |  | Patricia
passiveComponents | capacitors |  | Wurth | 885012205086 |  |  | 200 | 100n | MLCC, X7R | 50V max | SMD | 0402 | https://www.we-online.com/components/products/datasheet/885012205086.pdf |  |  | D265 | Tiro-clas | 1 | 12 | 1
passiveComponents | capacitors |  | Wurth | 885012214001 |  |  | 80 | 10u | MLCC, X7R | 100V max | SMD | 2220 | https://www.we-online.com/components/products/datasheet/885012214001.pdf |  |  | D265 | Tiro-clas | 1 | 12 | 2
passiveComponents | resistors |  | Yageo | AC0805FR-071KL | RS | 197-8172 | 5000 | 1k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-AC_51_RoHS_L_11.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1978172?searchId=e42e332d-ec63-4204-8c92-dbbf7c407634&gb=s |  | Patricia
passiveComponents | capacitors |  | Wurth | 885012205085 |  |  | 1000 | 100n | MLCC, X7R | 25V max | SMD | 0402 | https://www.we-online.com/components/products/datasheet/885012205085.pdf |  |  | D265
passiveComponents | resistors |  | Multicomp Pro | MP000459 | Farnell | 3213383 | 1 | Kit | General purpose | 0R -> 1M, 200mW, 1% | SMD | 0603 | https://www.farnell.com/datasheets/2830050.pdf | https://fr.farnell.com/multicomp-pro/mp000459/kit-res-chip-0603-0-2w-1-6050pc/dp/3213383 |  | Patricia
passiveComponents | capacitors |  | Wurth | 885012205067 |  |  | 1000 | 10n | MLCC, X7R | 50V max | SMD | 0402 | https://www.we-online.com/components/products/datasheet/885012205067.pdf |  |  | D265
passiveComponents | resistors |  | Multicomp Pro | MCVVT025M100CA1L | Farnell | 2610879 | 2000 | 10u | Aluminum Electrolytic | 25V | SMD | 4,0 x 5,4 | https://www.farnell.com/datasheets/3486024.pdf | https://fr.farnell.com/multicomp/mcvvt025m100ca1l/condensateur-10-f-25v-cms/dp/2610879 |  | Patricia
passiveComponents | capacitors |  | Wurth | 885012206076 |  |  | 1000 | 1u | MLCC, X7R | 25V max | SMD | 0603 | https://www.we-online.com/components/products/datasheet/885012206076.pdf |  |  | D265
passiveComponents | resistors |  | RS Pro | 804-8760 | RS | 804-8760 | 5000 | 100R | General Purpose | 100mW | SMD | 0603 | https://docs.rs-online.com/9f65/0900766b8157cb2c.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/8048760 |  | Patricia
passiveComponents | resistors |  | RS Pro | 804-8845 | RS | 804-8845 | 5000 | 1k | General Purpose | 100mW | SMD | 0603 | https://docs.rs-online.com/21eb/0900766b8157cb45.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/8048845 |  | Patricia
passiveComponents | resistors |  | RS Pro | 804-8921 | RS | 804-8921 | 5000 | 10k | General Purpose | 100mW | SMD | 0603 | https://docs.rs-online.com/bc5c/0900766b8157cb5c.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/8048921 |  | Patricia
passiveComponents | resistors |  | TE Connectivity | CRG0603ZR | RS | 134-5428 | 5000 | 0R | General Purpose | 100mW | SMD | 0603 | https://www.te.com/en/product-1623094-1.datasheet.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1345428 |  | Patricia
passiveComponents | resistors |  | TE Connectivity | CRG0805ZR | RS | 134-5456 | 5000 | 0R | General purpose | 125mW, 1% | SMD | 0805 | https://www.te.com/en/product-1623401-1.datasheet.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1345456 |  | Patricia
passiveComponents | resistors |  | TE Connectivity | CRG1206F10K | RS | 134-5524 | 5000 | 10k | General Purpose | 250mW, 1% | SMD | 1206 | https://www.te.com/en/product-1623404-1.datasheet.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1345524 |  | Patricia
passiveComponents | capacitors |  | Samsung | CL10B103KB8NNNC | RS | 766-5373 | 4000 | 10n | MLCC, X7R | 50V | SMD | 0603 | https://weblib.samsungsem.com/mlcc/mlcc-ec-data-sheet.do?partNumber=CL10B103KB8NNN | https://fr.rs-online.com/web/p/condensateurs-ceramique-multicouches/7665373 |  | Patricia
passiveComponents | resistors |  | Panasonic Electronic Components | ERJ8GEY0R00V | RS | 176-3599 | 1000 | 0R | General Purpose | 250mW, 1% | SMD | 1206 | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C301.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1763599 |  | Patricia
passiveComponents | capacitors |  | Samsung | CL10B104KB8NNNC | RS | 766-5443 | 4000 | 100n | MLCC, X7R | 50V | SMD | 0603 | https://weblib.samsungsem.com/mlcc/mlcc-ec-data-sheet.do?partNumber=CL10B104KB8NNN | https://fr.rs-online.com/web/p/condensateurs-ceramique-multicouches/7665443 |  | Patricia
passiveComponents | capacitors |  | Panasonic Electronic Components | ECJ-2VB1E104K | Digikey | PCC1828TR-ND | 4000 | 100n | MLCC, X7R | 25V | SMD | 0805 | https://mm.digikey.com/Volume0/opasdata/d220001/medias/docus/1097/ECJ_%28General%29.pdf | https://www.digikey.fr/fr/products/detail/panasonic-electronic-components/ECJ-2VB1E104K/270298 |  | Patricia
passiveComponents | resistors |  | TA-I Technology Co. | RM10JTN103 |  |  | 5000 | 10k | General Purpose | 250mW, 1% | SMD | 0805 |  |  |  | Patricia
passiveComponents | resistors |  | Rohm | MCR10 EZH JW111E |  |  | 5000 | 110R | General purpose |  | SMD | 0805 |  |  |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-07100KL | RS | 199-5648 | 5000 | 100k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1995648 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-07100R | RS | 618-5135 | 5000 | 100R | General purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/6185135 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-0710KL | RS | 618-5163 | 10000 | 10k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/6185163 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-07150RL | RS | 242-6901 | 5000 | 150R | General purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/2426901 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-071K5L | RS | 199-5668 | 5000 | 1k5 | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1995668 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-07200RL | RS | 242-6929 | 5000 | 200R | General purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/2426929 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-0720KL | RS | 199-5679 | 5000 | 20k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1995679 |  | Patricia
passiveComponents | capacitors |  | Murata Electronics | GRM033R71H102KA12D | RS | 185-2113 | 2500 | 1n | MLCC, X7R | 50V | SMD | 0201 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033R71H102KA12-01A.pdf | https://fr.rs-online.com/web/p/condensateurs-ceramique-multicouches/1852113 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-0722KL | RS | 199-5686 | 5000 | 22k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1995686 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-07240RL | RS | 618-5163 | 5000 | 240R | General purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/2426951 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-072KL | RS | 199-5695 | 5000 | 2k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1995695 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-07330RL | RS | 242-6989 | 5000 | 330R | General purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/2426989 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-0733KL | RS | 618-5163 | 5000 | 33k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1995708 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-0733RL | RS | 618-5163 | 5000 | 33R | General purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/2426991 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-07390KL | RS | 242-6995 | 5000 | 390k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/2426995 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-07390RL | RS | 199-5710 | 5000 | 390R | General purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1995710 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-07470RL | RS | 242-7007 | 5000 | 470R | General purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/2427007 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-074K7L | RS | 242-7021 | 5000 | 4k7 | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/2427021 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-075K1L | RS | 199-5732 | 5000 | 5k1 | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1995732 |  | Patricia
passiveComponents | capacitors |  | Murata Electronics | GRM21BR71C105KA01L | Digikey | 490-1691-2-ND | 3000 | 1u | MLCC, X7R | 16V | SMD | 0805 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM21BR71C105KA01-01A.pdf | https://www.digikey.fr/fr/products/detail/murata-electronics/GRM21BR71C105KA01L/586698 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-075K6L | RS | 199-5734 | 5000 | 5k6 | General Purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1995734 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805FR-07715RL | Farnell | 3952049 | 5000 | 715R | General purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.farnell.com/yageo/rc0805fr-07715rl/res-715r-1-0-125w-thick-film-0805/dp/3952049 |  | Patricia
passiveComponents | resistors |  | Yageo | RC0805JR-070RL | RS | 199-5752 | 5000 | 0R | General purpose | 125mW, 1% | SMD | 0805 | https://www.yageo.com/upload/media/product/productsearch/datasheet/rchip/PYu-RC_Group_51_RoHS_L_12.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/1995752 |  | Patricia
passiveComponents | resistors |  | RS Pro | 802-9618 | RS | 802-9618 | 5000 | 1k | General Purpose | 250mW, 1% | SMD | 1206 | https://docs.rs-online.com/28d2/0900766b8157c903.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/8029618 |  | Patricia
passiveComponents | resistors |  | Rohm | MCR18 EZH JW202E |  |  | 5000 | 2k | General Purpose | 250mW, 1% | SMD | 1206 |  |  |  | Patricia
passiveComponents | resistors |  | RS Pro | 802-9784 | RS | 802-9784 | 5000 | 100k | General Purpose | 250mW, 1% | SMD | 1206 | https://docs.rs-online.com/350b/0900766b8157c940.pdf | https://fr.rs-online.com/web/p/resistances-a-montage-en-surface/8029784 |  | Patricia
passiveComponents | resistors |  | Stackpole Electronics Inc | RMCF0805FT909K | Digikey | RMCF0805FT909KTR-ND | 5000 | 909k | General Purpose | 125mW, 1% | SMD | 0805 | https://www.seielect.com/catalog/sei-rmcf_rmcp.pdf | https://www.digikey.fr/fr/products/detail/stackpole-electronics-inc/RMCF0805FT909K/1760269 |  | Patricia
passiveComponents | resistors |  | Philips |  |  |  | 4000 | 100k | General Purpose |  | SMD | 1206 |  |  |  | Patricia
passiveComponents | capacitors |  | Yageo | CC0805KRX7R9BB681 | Farnell | 3019860 | 4000 | 680p | MLCC, X7R | 50V | SMD | 0805 | https://www.yageo.com/en/Chart/Download/pdf/CC0805KRX7R9BB681 | https://fr.farnell.com/yageo/cc0805krx7r9bb681/condensateur-680pf-50v-10-x7r/dp/3019860 |  | Patricia
passiveComponents | capacitors |  | Kyocera AVX | TAJV226K050RNJ | RS | 1355458 | 100 | 100n | Tantalum | 35V | SMD | 7361-38 | https://docs.rs-online.com/1e78/0900766b815b838f.pdf | https://fr.rs-online.com/web/p/condensateurs-tantale/1355458 |  | D265 | Tiro-clas | 1 | 12 | 3
passiveComponents | resistors |  | Yageo |  | GoTronic | 16922 | 1 | Kit | General purpose resistors, MLCC capacitors | 0R -> 2M, 22pF ->1uF | SMD | 0603 | - | https://www.gotronic.fr/art-resistances-et-condensateurs-0603-20693.htm |  | Patricia
passiveComponents | resistors |  | Multicomp Pro | MP000460 | Farnell | 3213384 | 1 | Kit | General Purpose | 0R -> 1M, 330mW, 1% | SMD | 0805 |  |  |  | Patricia
passiveComponents | capacitors |  | Vishay | 293D104X9050A2TE3 | Farnell | 9302727 | 100 | 100n | Tantalum | 50V | SMD | 3216-18 | https://www.farnell.com/datasheets/2899258.pdf | https://fr.farnell.com/en-FR/vishay/293d104x9050a2te3/tantalum-capacitor-0-1uf-50v-19/dp/9302727 |  | D265 | Tiro-clas | 1 | 12 | 4
semiconductors | diodes |  | Wurth | 824599 |  |  | 2 | Kit | TVS Diode |  | SMD | kit | https://www.we-online.com/en/components/products/download/inlay/824599 |  |  | Patricia
[6 empty] | 1182 | 7 | [12 empty] | 5
|  |  | STMicroElectronic | STM32F446ZCT6 |  |  | 10
|  |  | STMicroElectronic | STM32G431CBU6 |  |  | 50
|  |  | STMicroElectronic | STM32U535RET6Q |  |  | 7
|  |  | STMicroElectronic | STM32F0360K6T6 |  |  | 30
|  |  | STMicroElectronic | STM32G474RET6 |  |  | 14
|  |  | STMicroElectronic | STM32G4A1REI6 |  |  | 9
|  |  | STMicroElectronic | STM32F201K6T6 |  |  | 14
|  |  | STMicroElectronic | STM32L412KBT6 |  |  | 50
|  |  | STMicroElectronic | STM32H573RIT6 |  |  | 8
|  |  | STMicroElectronic | STM32U535RET6 |  |  | 2
|  |  | STMicroElectronic | STM32G431KBT6 |  |  | 12
|  |  | STMicroElectronic | STM32G491CET6 |  |  | 25

## categories
Categories |  | Sub-categories |  |  | Sub-sub-categories
id | name | id | category | name | id | category | sub-category | name
0 | circuitProtection | 0 | circuitProtection | ESD_TVS | 1 | embeddedSolutions | computing | sbc
1 | connector | 1 | circuitProtection | fuseHolders | 2 | semiconductors | discreteSemiconductors | diodes
2 | electromechanical | 2 | circuitProtection | fuses | 3 | semiconductors | discreteSemiconductors | transistors | ESD_TVS
3 | embeddedSolutions | 3 | connector | Dupont | 4 | semiconductors | powerManagementICs | batteryManagement | fuseHolders
4 | passiveComponents | 4 | connector | JST | 5 | semiconductors | powerManagementICs | voltageRegulators | fuses
5 | power | 5 | electromechanical | motors | 6 | connector | JST | XH 2,5mm
6 | semiconductors | 6 | electromechanical | relays | 7 | connector | JST | PH 2,0mm
7 | sensors | 7 | embeddedSolutions | computing | 8 | connector | Dupont | 2,54mm
8 | thermalManagement | 8 | embeddedSolutions | developmentKits | 9 | electromechanical | motors | servo-motors
9 | wireCables | 9 | embeddedSolutions | sensorModules | 10 | electromechanical | motors | DC-motors
10 | tools | 10 | passiveComponents | capacitors | 11 | electromechanical | motors | AC-motors
11 | optoelectronic | 11 | passiveComponents | inductors | 12 | electromechanical | motors | stepper-motors
|  | 12 | passiveComponents | potentiometers | 13 | tools | soldering | solder
|  | 13 | passiveComponents | resistors | 14 | tools | soldering | solderFlux
|  | 14 | passiveComponents | signalTransformers | 15 | tools | soldering | irons
|  | 15 | power | AC-DC_Converters
|  | 16 | power | DC-DC_Converters
|  | 17 | semiconductors | diodes
|  | 18 | semiconductors | embeddedProcessors
|  | 19 | semiconductors | integratedCircuits
|  | 20 | semiconductors | memoryICs
|  | 21 | semiconductors | powerManagementICs
|  | 22 | semiconductors | wireless_RFSemiconductors
|  | 23 | sensors | audio
|  | 24 | sensors | current
|  | 25 | sensors | encoders
|  | 26 | sensors | magnetic
|  | 27 | sensors | pressure
|  | 28 | sensors | prximity
|  | 29 | sensors | temperature
|  | 30 | thermalManagement | fans
|  | 31 | thermalManagement | heatSinks
|  | 32 | wireCables | cableAssemblies
|  | 33 | wireCables | multiConductorCables
|  | 34 | tools | soldering
|  | 35 | semiconductors | transistors
|  | 36 | optoelectronic | LED
|  | 37 | optoelectronic | IR
|  | 28 | passiveComponents | quartz
|  | 29 | connector | powerJacks
|  | 30 | connector | pinHeader_pinSocket
|  | 31 | semiconductors | gateDriver
|  | 32 | semiconductors | amplifier
|  | 33 | semiconductors | buffer
|  | 34 | optoelectronic | phototransistor
|  | 35 | semiconductors | gpioExpander
|  | 36 | semiconductors | ledDriver
|  | 37 | sensors | IMU
|  | 38 | semiconductors | transceiverRF
|  | 39 | semiconductors | transceiverEth
|  | 40 | semiconductors | motorDriver
|  | 41 | embeddedSolutions | communicationRF

## subcategories_split
circuitProtection |  |  | connector |  |  | electromechanical |  |  | embeddedSolutions |  |  | passiveComponents |  |  | power
id | category | name | id | category | name | id | category | name | id | category | name | id | category | name | id | category | name
0 | circuitProtection | ESD_TVS | 3 | connector | Dupont | 5 | electromechanical | motors | 7 | embeddedSolutions | computing | 10 | passiveComponents | capacitors | 15 | power | AC-DC_Converters
1 | circuitProtection | fuseHolders | 4 | connector | JST | 6 | electromechanical | relays | 8 | embeddedSolutions | developmentKits | 11 | passiveComponents | inductors | 16 | power | DC-DC_Converters
2 | circuitProtection | fuses | 29 | connector | powerJacks |  |  |  | 9 | embeddedSolutions | sensorModules | 12 | passiveComponents | potentiometers
|  |  | 30 | connector | pinHeader_pinSocket |  |  |  | 41 | embeddedSolutions | communicationRF | 13 | passiveComponents | resistors
[12 empty] | 14 | passiveComponents | signalTransformers
[12 empty] | 28 | passiveComponents | quartz
semiconductors |  |  | sensors |  |  | thermalManagement |  |  | wireCables |  |  | tools |  |  | optoelectronic
id | category | name | id | category | name | id | category | name | id | category | name | id | category | name | id | category | name
17 | semiconductors | diodes | 23 | sensors | audio | 30 | thermalManagement | fans | 32 | wireCables | cableAssemblies | 34 | tools | soldering | 36 | optoelectronic | LED
18 | semiconductors | embeddedProcessors | 24 | sensors | current | 31 | thermalManagement | heatSinks | 33 | wireCables | multiConductorCables |  |  |  | 37 | optoelectronic | IR
19 | semiconductors | integratedCircuits | 25 | sensors | encoders | [9 empty] | 34 | optoelectronic | phototransistor
20 | semiconductors | memoryICs | 26 | sensors | magnetic
21 | semiconductors | powerManagementICs | 27 | sensors | pressure
22 | semiconductors | wireless_RFSemiconductors | 28 | sensors | prximity
35 | semiconductors | transistors | 29 | sensors | temperature
31 | semiconductors | gateDriver | 37 | sensors | IMU
32 | semiconductors | amplifier
33 | semiconductors | buffer
35 | semiconductors | gpioExpander
36 | semiconductors | ledDriver
38 | semiconductors | transceiverRF
39 | semiconductors | transceiverEth
40 | semiconductors | motorDriver

## subsubcategories_split
sbc |  |  | diodes |  |  | transistors |  |  | batteryManagement |  |  | voltageRegulators |  |  | XH 2,5mm
id | category | name | id | category | name | id | category | name | id | category | name | id | category | name | id | category | name
#VALUE! |  |  | #VALUE! |  |  | #VALUE! |  |  | #VALUE! |  |  | #REF! |  |  | #REF!
PH 2,0mm |  |  | 2,54mm |  |  | servo-motors |  |  | DC-motors |  |  | AC-motors |  |  | stepper-motors
id | category | name | id | category | name | id | category | name | id | category | name | id | category | name | id | category | name
#REF! |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF!
solder |  |  | solderFlux |  |  | irons
id | category | name | id | category | name | id | category | name
#REF! |  |  | #REF! |  |  | #REF!

## supplier
Supplier
name | website | country
Farnell | https://fr.farnell.com/ | FR
RS | https://fr.rs-online.com/ | FR
Mouser | https://www.mouser.fr/ | USA
GoTronic | https://www.gotronic.fr/ | FR
Amazon | https://business.amazon.fr/ | FR
Digikey | https://www.digikey.fr/ | GER

## manufacturer
Manufacturer
name | website | country
Analog Device
Texas Instrument
STMicroElectronic
TE Connectivity
Wurth
TracoPower
Littelfuse
Vishay
Dialight
Rohm
Microchip
Diodes Inc.
Multicomp Pro
Onsemi
Nexperia
Recom
Infineon
CUI Inc.
Kemet
RS Pro
Samsung
Yageo
Philips
Stackpole Electronics Inc
Panasonic Electronic Components
Murata Electronics
TA-I Technology Co.
Kyocera AVX
Power Integrations
LEM
Broadcom
Ecliptek
Abracon
NXP
Nordic Semiconductor
Trinamic